## November_2025_DOC-2_full_cu (2)
[Header]
System | TOC-VCSH
File Ver. | 2.1
User
Date of Creation | 2025-11-19 14:30
Comments
[System]
Detector | Combustion
Catalyst | Regular Sensitivity
ASI Tray | 40 mL Vials
[Data]
Type | Anal. | Sample Name | Sample ID | Origin | Cal. Curve | Manual Dilution | Notes | Date / Time | Spl. No. | Inj. No. | Analysis(Inj.) | Area | Mean Area | Conc. | Mean Conc. | Result | Mean Result | SD Area | Excluded | Inj. Vol.
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 14:41 | 1 | 1 | NPOC | 0 | 0 | 0 | 0 | NPOC:0.000mg/L | NPOC:0.000mg/L | 0 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 14:55 | 1 | 1 | NPOC | 0.4253 | 0.4434 | 0.08463 | 0.08822 | NPOC:0.08822mg/L | NPOC:0.08822mg/L | 0.02992 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:07 | 1 | 1 | NPOC | 0.5835 | 0.6049 | 0.1161 | 0.1204 | NPOC:0.1204mg/L | NPOC:0.1204mg/L | 0.07241 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:20 | 1 | 1 | NPOC | 0.361 | 0.3591 | 0.07183 | 0.07146 | NPOC:0.07146mg/L | NPOC:0.07146mg/L | 0.07677 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:32 | 1 | 1 | NPOC | 0.3548 | 0.3784 | 0.0706 | 0.0753 | NPOC:0.07530mg/L | NPOC:0.07530mg/L | 0.07673 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:45 | 1 | 1 | NPOC | 0.3169 | 3.894 | 0.06306 | 0.7749 | NPOC:0.7749mg/L | NPOC:0.7749mg/L | 0.9442 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 16:36 | 1 | 1 | NPOC | 0 | 3.794 | 0 | 0.755 | NPOC:0.7550mg/L | NPOC:0.7550mg/L | 0.9163 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 17:27 | 1 | 1 | NPOC | 4.54 | 4.185 | 0.9034 | 0.8328 | NPOC:0.8328mg/L | NPOC:0.8328mg/L | 0.7054 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:12 | 1 | 1 | NPOC | 1.912 | 1.255 | 0.3805 | 0.2496 | NPOC:0.2496mg/L | NPOC:0.2496mg/L | 0.2338 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:29 | 1 | 1 | NPOC | 1.092 | 0.5174 | 0.2173 | 0.103 | NPOC:0.1030mg/L | NPOC:0.1030mg/L | 0.05131 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 16:46 | 1 | 1 | NPOC | 4.774 | 1.175 | 0 |  |  |  | 0.08947 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:04 | 2 | 1 | NPOC | 3.105 | 3.331 | 0.5 |  |  |  | 0.02696 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:19 | 3 | 1 | NPOC | 6.199 | 5.978 | 1 |  |  |  | 0.197 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:38 | 4 | 1 | NPOC | 24.72 | 24.61 | 5 |  |  |  | 0.09539 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:55 | 5 | 1 | NPOC | 47.74 | 47.69 | 10 |  |  |  | 0.3431 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:13 | 6 | 1 | NPOC | 95.37 | 94.66 | 20 |  |  |  | 0.7204 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:27 | 7 | 1 | NPOC | 195.1 | 196.6 | 40 |  |  |  | 2.157 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:45 | 8 | 1 | NPOC | 503.6 | 500.9 | 100 |  |  |  | 5.93 | 0 | 50
Unknown | NPOC | SRS3_10_22 | SRS3_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:00 | 1 | 1 | NPOC | 54.56 | 55.2 | 10.91 | 11.04 | NPOC:11.04mg/L | NPOC:11.04mg/L | 0.7068 | 0 | 50
Unknown | NPOC | SRS4_10_22 | SRS4_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:14 | 1 | 1 | NPOC | 58.24 | 57.75 | 11.65 | 11.55 | NPOC:11.55mg/L | NPOC:11.55mg/L | 0.5173 | 0 | 50
Unknown | NPOC | SRS5_10_22 | SRS5_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:28 | 1 | 1 | NPOC | 60.44 | 60.55 | 12.09 | 12.11 | NPOC:12.11mg/L | NPOC:12.11mg/L | 0.4508 | 0 | 50
Unknown | NPOC | SRS5.5_10_22 | SRS5.5_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:43 | 1 | 1 | NPOC | 60.78 | 60.56 | 12.16 | 12.12 | NPOC:12.12mg/L | NPOC:12.12mg/L | 0.1877 | 0 | 50
Unknown | NPOC | SRS6_10_22 | SRS6_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:57 | 1 | 1 | NPOC | 53.07 | 53.26 | 10.62 | 10.65 | NPOC:10.65mg/L | NPOC:10.65mg/L | 0.19 | 0 | 50
Unknown | NPOC | SRS7_10_22 | SRS7_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:11 | 1 | 1 | NPOC | 42.48 | 40.59 | 8.498 | 8.12 | NPOC:8.120mg/L | NPOC:8.120mg/L | 0.2007 | 1 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:27 | 1 | 1 | NPOC | 49.02 | 48.7 | 9.806 | 9.743 | NPOC:9.743mg/L | NPOC:9.743mg/L | 0.2765 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:39 | 1 | 1 | NPOC | 0.3804 | 0.485 | 0.0761 | 0.09702 | NPOC:0.09702mg/L | NPOC:0.09702mg/L | 0.09222 | 0 | 50
Unknown | NPOC | UCP40-Surface | CP40-Surface | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:55 | 1 | 1 | NPOC | 18.7 | 18.45 | 3.741 | 3.69 | NPOC:3.690mg/L | NPOC:3.690mg/L | 0.2214 | 0 | 50
Unknown | NPOC | CP40-5 | CP40-5 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:11 | 1 | 1 | NPOC | 39.75 | 38.3 | 7.952 | 7.662 | NPOC:7.662mg/L | NPOC:7.662mg/L | 0.3201 | 1 | 50
Unknown | NPOC | CP40-15 | CP40-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:27 | 1 | 1 | NPOC | 34.72 | 34.79 | 6.946 | 6.96 | NPOC:6.960mg/L | NPOC:6.960mg/L | 0.08888 | 0 | 50
Unknown | NPOC | CP40-45 | CP40-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:42 | 1 | 1 | NPOC | 37.78 | 31.97 | 7.558 | 6.396 | NPOC:6.396mg/L | NPOC:6.396mg/L | 0.3683 | 1 | 50
Unknown | NPOC | CP40-90 | CP40-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:58 | 1 | 1 | NPOC | 29.11 | 29.28 | 5.823 | 5.858 | NPOC:5.858mg/L | NPOC:5.858mg/L | 0.2747 | 0 | 50
Unknown | NPOC | CP40-45Spike | CP40-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:12 | 1 | 1 | NPOC | 132.6 | 133.1 | 26.53 | 26.63 | NPOC:26.63mg/L | NPOC:26.63mg/L | 1.229 | 0 | 50
Unknown | NPOC | BL60-Surface | BL60-Surface | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:26 | 1 | 1 | NPOC | 32.93 | 33.4 | 6.587 | 6.681 | NPOC:6.681mg/L | NPOC:6.681mg/L | 0.6665 | 0 | 50
Unknown | NPOC | BL60-0 | BL60-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:40 | 1 | 1 | NPOC | 159.2 | 159.1 | 31.85 | 31.82 | NPOC:31.82mg/L | NPOC:31.82mg/L | 1.206 | 0 | 50
Unknown | NPOC | BL60-15 | BL60-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:55 | 1 | 1 | NPOC | 126.6 | 125.7 | 25.33 | 25.15 | NPOC:25.15mg/L | NPOC:25.15mg/L | 0.8505 | 0 | 50
Unknown | NPOC | BL60-45 | BL60-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:09 | 1 | 1 | NPOC | 143.5 | 142.9 | 28.71 | 28.58 | NPOC:28.58mg/L | NPOC:28.58mg/L | 1.012 | 0 | 50
Unknown | NPOC | BL60-90 | BL60-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:23 | 1 | 1 | NPOC | 53.17 | 53.1 | 10.64 | 10.62 | NPOC:10.62mg/L | NPOC:10.62mg/L | 0.1607 | 0 | 50
Unknown | NPOC | BL60-45Spike | BL60-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:41 | 1 | 1 | NPOC | 238.2 | 237.6 | 47.65 | 47.53 | NPOC:47.53mg/L | NPOC:47.53mg/L | 0.5196 | 0 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:55 | 1 | 1 | NPOC | 9.862 | 9.894 | 1.973 | 1.979 | NPOC:1.979mg/L | NPOC:1.979mg/L | 0.1624 | 0 | 50
Unknown | NPOC | SRS5-0 | SRS5-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:11 | 1 | 1 | NPOC | 48.13 | 48.03 | 9.628 | 9.609 | NPOC:9.609mg/L | NPOC:9.609mg/L | 0.09074 | 0 | 50
Unknown | NPOC | SRS5-15 | SRS5-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:25 | 1 | 1 | NPOC | 11.79 | 11.67 | 2.359 | 2.334 | NPOC:2.334mg/L | NPOC:2.334mg/L | 0.125 | 0 | 50
Unknown | NPOC | SRS5-45 | SRS5-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:41 | 1 | 1 | NPOC | 8.624 | 8.62 | 1.725 | 1.724 | NPOC:1.724mg/L | NPOC:1.724mg/L | 0.1345 | 0 | 50
Unknown | NPOC | SRS5-90 | SRS5-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:54 | 1 | 1 | NPOC | 8.553 | 8.457 | 1.711 | 1.692 | NPOC:1.692mg/L | NPOC:1.692mg/L | 0.1337 | 0 | 50
Unknown | NPOC | SRS5-45Spike | SRS5-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:08 | 1 | 1 | NPOC | 101.6 | 101.7 | 20.32 | 20.35 | NPOC:20.35mg/L | NPOC:20.35mg/L | 1.206 | 0 | 50
Unknown | NPOC | SRS6-0 | SRS6-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:22 | 1 | 1 | NPOC | 9.506 | 9.639 | 1.902 | 1.928 | NPOC:1.928mg/L | NPOC:1.928mg/L | 0.131 | 0 | 50
Unknown | NPOC | SRS6-15 | SRS6-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:38 | 1 | 1 | NPOC | 19.14 | 9.449 | 3.829 | 1.89 | NPOC:1.890mg/L | NPOC:1.890mg/L | 0.16 | 1 | 50
Unknown | NPOC | SRS6-45 | SRS6-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:56 | 1 | 1 | NPOC | 8.851 | 8.88 | 1.771 | 1.776 | NPOC:1.776mg/L | NPOC:1.776mg/L | 0.08624 | 0 | 50
Unknown | NPOC | SRS6-90 | SRS6-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:09 | 1 | 1 | NPOC | 7.348 | 7.352 | 1.47 | 1.471 | NPOC:1.471mg/L | NPOC:1.471mg/L | 0.04162 | 0 | 50
Unknown | NPOC | SRS6-45Spike | SRS6-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:23 | 1 | 1 | NPOC | 101.5 | 101.8 | 20.3 | 20.36 | NPOC:20.36mg/L | NPOC:20.36mg/L | 0.9292 | 0 | 50
Unknown | NPOC | empty | empty | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:40 | 1 | 1 | NPOC | 0 | 0.253 | 0 | 0.05062 | NPOC:0.05062mg/L | NPOC:0.05062mg/L | 0.03433 | 1 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:58 | 1 | 1 | NPOC | 51.53 | 48.27 | 10.31 | 9.655 | NPOC:9.655mg/L | NPOC:9.655mg/L | 0.8204 | 1 | 50
Unknown | NPOC | exblank | exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 03:12 | 1 | 1 | NPOC | 0 | 0.05143 | 0 | 0.01029 | NPOC:0.01029mg/L | NPOC:0.01029mg/L | 0.08909 | 0 | 50

## November_2025_DOC-2_full_curve
[Header]
System | TOC-VCSH
File Ver. | 2.1
User
Date of Creation | 2025-11-19 14:30
Comments
[System]
Detector | Combustion
Catalyst | Regular Sensitivity
ASI Tray | 40 mL Vials
[Data]
Type | Anal. | Sample Name | Sample ID | Origin | Cal. Curve | Manual Dilution | Notes | Date / Time | Spl. No. | Inj. No. | Analysis(Inj.) | Area | Mean Area | Conc. | Mean Conc. | Result | Mean Result | SD Area | Excluded | Inj. Vol.
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 14:41 | 1 | 1 | NPOC | 0 | 0 | 0 | 0 | NPOC:0.000mg/L | NPOC:0.000mg/L | 0 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 14:43 | 1 | 2 | NPOC | 0 | 0 | 0 | 0 | NPOC:0.000mg/L | NPOC:0.000mg/L | 0 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 14:48 | 1 | 3 | NPOC | 0 | 0 | 0 | 0 | NPOC:0.000mg/L | NPOC:0.000mg/L | 0 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 14:55 | 1 | 1 | NPOC | 0.4253 | 0.4434 | 0.08463 | 0.08822 | NPOC:0.08822mg/L | NPOC:0.08822mg/L | 0.02992 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 14:57 | 1 | 2 | NPOC | 0.4779 | 0.4434 | 0.0951 | 0.08822 | NPOC:0.08822mg/L | NPOC:0.08822mg/L | 0.02992 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 14:59 | 1 | 3 | NPOC | 0.4269 | 0.4434 | 0.08495 | 0.08822 | NPOC:0.08822mg/L | NPOC:0.08822mg/L | 0.02992 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:07 | 1 | 1 | NPOC | 0.5835 | 0.6049 | 0.1161 | 0.1204 | NPOC:0.1204mg/L | NPOC:0.1204mg/L | 0.07241 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:09 | 1 | 2 | NPOC | 0.6856 | 0.6049 | 0.1364 | 0.1204 | NPOC:0.1204mg/L | NPOC:0.1204mg/L | 0.07241 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:11 | 1 | 3 | NPOC | 0.8889 | 0.6049 | 0.1769 | 0.1204 | NPOC:0.1204mg/L | NPOC:0.1204mg/L | 0.07241 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:13 | 1 | 4 | NPOC | 0.5456 | 0.6049 | 0.1086 | 0.1204 | NPOC:0.1204mg/L | NPOC:0.1204mg/L | 0.07241 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:20 | 1 | 1 | NPOC | 0.361 | 0.3591 | 0.07183 | 0.07146 | NPOC:0.07146mg/L | NPOC:0.07146mg/L | 0.07677 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:22 | 1 | 2 | NPOC | 0.2814 | 0.3591 | 0.056 | 0.07146 | NPOC:0.07146mg/L | NPOC:0.07146mg/L | 0.07677 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:24 | 1 | 3 | NPOC | 0.4349 | 0.3591 | 0.08654 | 0.07146 | NPOC:0.07146mg/L | NPOC:0.07146mg/L | 0.07677 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:32 | 1 | 1 | NPOC | 0.3548 | 0.3784 | 0.0706 | 0.0753 | NPOC:0.07530mg/L | NPOC:0.07530mg/L | 0.07673 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:34 | 1 | 2 | NPOC | 0.5923 | 0.3784 | 0.1179 | 0.0753 | NPOC:0.07530mg/L | NPOC:0.07530mg/L | 0.07673 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:36 | 1 | 3 | NPOC | 0.3163 | 0.3784 | 0.06294 | 0.0753 | NPOC:0.07530mg/L | NPOC:0.07530mg/L | 0.07673 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:38 | 1 | 4 | NPOC | 0.4642 | 0.3784 | 0.09237 | 0.0753 | NPOC:0.07530mg/L | NPOC:0.07530mg/L | 0.07673 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:45 | 1 | 1 | NPOC | 0.3169 | 3.894 | 0.06306 | 0.7749 | NPOC:0.7749mg/L | NPOC:0.7749mg/L | 0.9442 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:48 | 1 | 2 | NPOC | 4.678 | 3.894 | 0.9309 | 0.7749 | NPOC:0.7749mg/L | NPOC:0.7749mg/L | 0.9442 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:53 | 1 | 3 | NPOC | 2.846 | 3.894 | 0.5663 | 0.7749 | NPOC:0.7749mg/L | NPOC:0.7749mg/L | 0.9442 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 15:58 | 1 | 4 | NPOC | 7.507 | 3.894 | 1.494 | 0.7749 | NPOC:0.7749mg/L | NPOC:0.7749mg/L | 0.9442 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 16:03 | 1 | 5 | NPOC | 4.159 | 3.894 | 0.8276 | 0.7749 | NPOC:0.7749mg/L | NPOC:0.7749mg/L | 0.9442 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 16:36 | 1 | 1 | NPOC | 0 | 3.794 | 0 | 0.755 | NPOC:0.7550mg/L | NPOC:0.7550mg/L | 0.9163 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 16:41 | 1 | 2 | NPOC | 1.027 | 3.794 | 0.2044 | 0.755 | NPOC:0.7550mg/L | NPOC:0.7550mg/L | 0.9163 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 16:46 | 1 | 3 | NPOC | 2.74 | 3.794 | 0.5452 | 0.755 | NPOC:0.7550mg/L | NPOC:0.7550mg/L | 0.9163 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 16:51 | 1 | 4 | NPOC | 4.398 | 3.794 | 0.8752 | 0.755 | NPOC:0.7550mg/L | NPOC:0.7550mg/L | 0.9163 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 16:56 | 1 | 5 | NPOC | 4.245 | 3.794 | 0.8447 | 0.755 | NPOC:0.7550mg/L | NPOC:0.7550mg/L | 0.9163 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 17:27 | 1 | 1 | NPOC | 4.54 | 4.185 | 0.9034 | 0.8328 | NPOC:0.8328mg/L | NPOC:0.8328mg/L | 0.7054 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 17:32 | 1 | 2 | NPOC | 3.373 | 4.185 | 0.6712 | 0.8328 | NPOC:0.8328mg/L | NPOC:0.8328mg/L | 0.7054 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 17:37 | 1 | 3 | NPOC | 4.643 | 4.185 | 0.9239 | 0.8328 | NPOC:0.8328mg/L | NPOC:0.8328mg/L | 0.7054 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-19 17:42 | 1 | 4 | NPOC | 3.112 | 4.185 | 0.6193 | 0.8328 | NPOC:0.8328mg/L | NPOC:0.8328mg/L | 0.7054 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:12 | 1 | 1 | NPOC | 1.912 | 1.255 | 0.3805 | 0.2496 | NPOC:0.2496mg/L | NPOC:0.2496mg/L | 0.2338 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:15 | 1 | 2 | NPOC | 1.423 | 1.255 | 0.2832 | 0.2496 | NPOC:0.2496mg/L | NPOC:0.2496mg/L | 0.2338 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:17 | 1 | 3 | NPOC | 0.9876 | 1.255 | 0.1965 | 0.2496 | NPOC:0.2496mg/L | NPOC:0.2496mg/L | 0.2338 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:20 | 1 | 4 | NPOC | 1.353 | 1.255 | 0.2692 | 0.2496 | NPOC:0.2496mg/L | NPOC:0.2496mg/L | 0.2338 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:22 | 1 | 5 | NPOC | 1.847 | 1.255 | 0.3675 | 0.2496 | NPOC:0.2496mg/L | NPOC:0.2496mg/L | 0.2338 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:29 | 1 | 1 | NPOC | 1.092 | 0.5174 | 0.2173 | 0.103 | NPOC:0.1030mg/L | NPOC:0.1030mg/L | 0.05131 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:31 | 1 | 2 | NPOC | 0.5693 | 0.5174 | 0.1133 | 0.103 | NPOC:0.1030mg/L | NPOC:0.1030mg/L | 0.05131 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:33 | 1 | 3 | NPOC | 1.003 | 0.5174 | 0.1996 | 0.103 | NPOC:0.1030mg/L | NPOC:0.1030mg/L | 0.05131 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:35 | 1 | 4 | NPOC | 0.4667 | 0.5174 | 0.09287 | 0.103 | NPOC:0.1030mg/L | NPOC:0.1030mg/L | 0.05131 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_12_20_10_32.cal | 1 |  | 2025-11-20 16:37 | 1 | 5 | NPOC | 0.5161 | 0.5174 | 0.1027 | 0.103 | NPOC:0.1030mg/L | NPOC:0.1030mg/L | 0.05131 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 16:46 | 1 | 1 | NPOC | 4.774 | 1.175 | 0 |  |  |  | 0.08947 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 16:48 | 1 | 2 | NPOC | 2.542 | 1.175 | 0 |  |  |  | 0.08947 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 16:50 | 1 | 3 | NPOC | 1.236 | 1.175 | 0 |  |  |  | 0.08947 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 16:53 | 1 | 4 | NPOC | 1.072 | 1.175 | 0 |  |  |  | 0.08947 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 16:55 | 1 | 5 | NPOC | 1.216 | 1.175 | 0 |  |  |  | 0.08947 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:04 | 2 | 1 | NPOC | 3.105 | 3.331 | 0.5 |  |  |  | 0.02696 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:06 | 2 | 2 | NPOC | 3.349 | 3.331 | 0.5 |  |  |  | 0.02696 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:08 | 2 | 3 | NPOC | 3.3 | 3.331 | 0.5 |  |  |  | 0.02696 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:10 | 2 | 4 | NPOC | 3.344 | 3.331 | 0.5 |  |  |  | 0.02696 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:19 | 3 | 1 | NPOC | 6.199 | 5.978 | 1 |  |  |  | 0.197 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:21 | 3 | 2 | NPOC | 5.821 | 5.978 | 1 |  |  |  | 0.197 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:25 | 3 | 3 | NPOC | 7.562 | 5.978 | 1 |  |  |  | 0.197 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:27 | 3 | 4 | NPOC | 5.914 | 5.978 | 1 |  |  |  | 0.197 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:29 | 3 | 5 | NPOC | 5.502 | 5.978 | 1 |  |  |  | 0.197 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:38 | 4 | 1 | NPOC | 24.72 | 24.61 | 5 |  |  |  | 0.09539 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:41 | 4 | 2 | NPOC | 39.23 | 24.61 | 5 |  |  |  | 0.09539 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:43 | 4 | 3 | NPOC | 24.56 | 24.61 | 5 |  |  |  | 0.09539 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:45 | 4 | 4 | NPOC | 24.55 | 24.61 | 5 |  |  |  | 0.09539 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:55 | 5 | 1 | NPOC | 47.74 | 47.69 | 10 |  |  |  | 0.3431 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 17:58 | 5 | 2 | NPOC | 47.32 | 47.69 | 10 |  |  |  | 0.3431 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:01 | 5 | 3 | NPOC | 54.13 | 47.69 | 10 |  |  |  | 0.3431 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:03 | 5 | 4 | NPOC | 48 | 47.69 | 10 |  |  |  | 0.3431 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:13 | 6 | 1 | NPOC | 95.37 | 94.66 | 20 |  |  |  | 0.7204 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:15 | 6 | 2 | NPOC | 93.93 | 94.66 | 20 |  |  |  | 0.7204 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:18 | 6 | 3 | NPOC | 94.69 | 94.66 | 20 |  |  |  | 0.7204 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:27 | 7 | 1 | NPOC | 195.1 | 196.6 | 40 |  |  |  | 2.157 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:30 | 7 | 2 | NPOC | 195.7 | 196.6 | 40 |  |  |  | 2.157 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:33 | 7 | 3 | NPOC | 220.4 | 196.6 | 40 |  |  |  | 2.157 | 1 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:35 | 7 | 4 | NPOC | 199.1 | 196.6 | 40 |  |  |  | 2.157 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:45 | 8 | 1 | NPOC | 503.6 | 500.9 | 100 |  |  |  | 5.93 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:48 | 8 | 2 | NPOC | 494.1 | 500.9 | 100 |  |  |  | 5.93 | 0 | 50
Standard | NPOC | Untitled | Untitled | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal |  | 1 |  | 2025-11-20 18:50 | 8 | 3 | NPOC | 505 | 500.9 | 100 |  |  |  | 5.93 | 0 | 50
Unknown | NPOC | SRS3_10_22 | SRS3_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:00 | 1 | 1 | NPOC | 54.56 | 55.2 | 10.91 | 11.04 | NPOC:11.04mg/L | NPOC:11.04mg/L | 0.7068 | 0 | 50
Unknown | NPOC | SRS3_10_22 | SRS3_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:02 | 1 | 2 | NPOC | 55.96 | 55.2 | 11.19 | 11.04 | NPOC:11.04mg/L | NPOC:11.04mg/L | 0.7068 | 0 | 50
Unknown | NPOC | SRS3_10_22 | SRS3_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:04 | 1 | 3 | NPOC | 55.09 | 55.2 | 11.02 | 11.04 | NPOC:11.04mg/L | NPOC:11.04mg/L | 0.7068 | 0 | 50
Unknown | NPOC | SRS4_10_22 | SRS4_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:14 | 1 | 1 | NPOC | 58.24 | 57.75 | 11.65 | 11.55 | NPOC:11.55mg/L | NPOC:11.55mg/L | 0.5173 | 0 | 50
Unknown | NPOC | SRS4_10_22 | SRS4_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:16 | 1 | 2 | NPOC | 57.21 | 57.75 | 11.44 | 11.55 | NPOC:11.55mg/L | NPOC:11.55mg/L | 0.5173 | 0 | 50
Unknown | NPOC | SRS4_10_22 | SRS4_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:19 | 1 | 3 | NPOC | 57.81 | 57.75 | 11.56 | 11.55 | NPOC:11.55mg/L | NPOC:11.55mg/L | 0.5173 | 0 | 50
Unknown | NPOC | SRS5_10_22 | SRS5_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:28 | 1 | 1 | NPOC | 60.44 | 60.55 | 12.09 | 12.11 | NPOC:12.11mg/L | NPOC:12.11mg/L | 0.4508 | 0 | 50
Unknown | NPOC | SRS5_10_22 | SRS5_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:31 | 1 | 2 | NPOC | 60.17 | 60.55 | 12.04 | 12.11 | NPOC:12.11mg/L | NPOC:12.11mg/L | 0.4508 | 0 | 50
Unknown | NPOC | SRS5_10_22 | SRS5_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:33 | 1 | 3 | NPOC | 61.05 | 60.55 | 12.21 | 12.11 | NPOC:12.11mg/L | NPOC:12.11mg/L | 0.4508 | 0 | 50
Unknown | NPOC | SRS5.5_10_22 | SRS5.5_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:43 | 1 | 1 | NPOC | 60.78 | 60.56 | 12.16 | 12.12 | NPOC:12.12mg/L | NPOC:12.12mg/L | 0.1877 | 0 | 50
Unknown | NPOC | SRS5.5_10_22 | SRS5.5_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:45 | 1 | 2 | NPOC | 60.46 | 60.56 | 12.09 | 12.12 | NPOC:12.12mg/L | NPOC:12.12mg/L | 0.1877 | 0 | 50
Unknown | NPOC | SRS5.5_10_22 | SRS5.5_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:47 | 1 | 3 | NPOC | 60.45 | 60.56 | 12.09 | 12.12 | NPOC:12.12mg/L | NPOC:12.12mg/L | 0.1877 | 0 | 50
Unknown | NPOC | SRS6_10_22 | SRS6_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:57 | 1 | 1 | NPOC | 53.07 | 53.26 | 10.62 | 10.65 | NPOC:10.65mg/L | NPOC:10.65mg/L | 0.19 | 0 | 50
Unknown | NPOC | SRS6_10_22 | SRS6_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 19:59 | 1 | 2 | NPOC | 53.26 | 53.26 | 10.65 | 10.65 | NPOC:10.65mg/L | NPOC:10.65mg/L | 0.19 | 0 | 50
Unknown | NPOC | SRS6_10_22 | SRS6_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:01 | 1 | 3 | NPOC | 53.45 | 53.26 | 10.69 | 10.65 | NPOC:10.65mg/L | NPOC:10.65mg/L | 0.19 | 0 | 50
Unknown | NPOC | SRS7_10_22 | SRS7_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:11 | 1 | 1 | NPOC | 42.48 | 40.59 | 8.498 | 8.12 | NPOC:8.120mg/L | NPOC:8.120mg/L | 0.2007 | 1 | 50
Unknown | NPOC | SRS7_10_22 | SRS7_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:13 | 1 | 2 | NPOC | 40.5 | 40.59 | 8.102 | 8.12 | NPOC:8.120mg/L | NPOC:8.120mg/L | 0.2007 | 0 | 50
Unknown | NPOC | SRS7_10_22 | SRS7_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:15 | 1 | 3 | NPOC | 40.45 | 40.59 | 8.092 | 8.12 | NPOC:8.120mg/L | NPOC:8.120mg/L | 0.2007 | 0 | 50
Unknown | NPOC | SRS7_10_22 | SRS7_10_22 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:17 | 1 | 4 | NPOC | 40.82 | 40.59 | 8.166 | 8.12 | NPOC:8.120mg/L | NPOC:8.120mg/L | 0.2007 | 0 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:27 | 1 | 1 | NPOC | 49.02 | 48.7 | 9.806 | 9.743 | NPOC:9.743mg/L | NPOC:9.743mg/L | 0.2765 | 0 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:30 | 1 | 2 | NPOC | 48.51 | 48.7 | 9.704 | 9.743 | NPOC:9.743mg/L | NPOC:9.743mg/L | 0.2765 | 0 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:32 | 1 | 3 | NPOC | 48.58 | 48.7 | 9.718 | 9.743 | NPOC:9.743mg/L | NPOC:9.743mg/L | 0.2765 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:39 | 1 | 1 | NPOC | 0.3804 | 0.485 | 0.0761 | 0.09702 | NPOC:0.09702mg/L | NPOC:0.09702mg/L | 0.09222 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:41 | 1 | 2 | NPOC | 0.52 | 0.485 | 0.104 | 0.09702 | NPOC:0.09702mg/L | NPOC:0.09702mg/L | 0.09222 | 0 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:43 | 1 | 3 | NPOC | 1.121 | 0.485 | 0.2242 | 0.09702 | NPOC:0.09702mg/L | NPOC:0.09702mg/L | 0.09222 | 1 | 50
Unknown | NPOC | Untitled | Exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:45 | 1 | 4 | NPOC | 0.5546 | 0.485 | 0.1109 | 0.09702 | NPOC:0.09702mg/L | NPOC:0.09702mg/L | 0.09222 | 0 | 50
Unknown | NPOC | UCP40-Surface | CP40-Surface | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:55 | 1 | 1 | NPOC | 18.7 | 18.45 | 3.741 | 3.69 | NPOC:3.690mg/L | NPOC:3.690mg/L | 0.2214 | 0 | 50
Unknown | NPOC | UCP40-Surface | CP40-Surface | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:57 | 1 | 2 | NPOC | 17.88 | 18.45 | 3.577 | 3.69 | NPOC:3.690mg/L | NPOC:3.690mg/L | 0.2214 | 1 | 50
Unknown | NPOC | UCP40-Surface | CP40-Surface | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 20:59 | 1 | 3 | NPOC | 18.29 | 18.45 | 3.659 | 3.69 | NPOC:3.690mg/L | NPOC:3.690mg/L | 0.2214 | 0 | 50
Unknown | NPOC | UCP40-Surface | CP40-Surface | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:01 | 1 | 4 | NPOC | 18.35 | 18.45 | 3.671 | 3.69 | NPOC:3.690mg/L | NPOC:3.690mg/L | 0.2214 | 0 | 50
Unknown | NPOC | CP40-0ed | CP40-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:11 | 1 | 1 | NPOC | 39.75 | 38.3 | 7.952 | 7.662 | NPOC:7.662mg/L | NPOC:7.662mg/L | 0.3201 | 1 | 50
Unknown | NPOC | CP40-0ed | CP40-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:13 | 1 | 2 | NPOC | 38.31 | 38.3 | 7.664 | 7.662 | NPOC:7.662mg/L | NPOC:7.662mg/L | 0.3201 | 0 | 50
Unknown | NPOC | CP40-0ed | CP40-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:16 | 1 | 3 | NPOC | 37.98 | 38.3 | 7.598 | 7.662 | NPOC:7.662mg/L | NPOC:7.662mg/L | 0.3201 | 0 | 50
Unknown | NPOC | CP40-0ed | CP40-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:18 | 1 | 4 | NPOC | 38.62 | 38.3 | 7.726 | 7.662 | NPOC:7.662mg/L | NPOC:7.662mg/L | 0.3201 | 0 | 50
Unknown | NPOC | CP40-5 | CP40-5 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:27 | 1 | 1 | NPOC | 34.72 | 34.79 | 6.946 | 6.96 | NPOC:6.960mg/L | NPOC:6.960mg/L | 0.08888 | 0 | 50
Unknown | NPOC | CP40-5 | CP40-5 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:29 | 1 | 2 | NPOC | 34.89 | 34.79 | 6.98 | 6.96 | NPOC:6.960mg/L | NPOC:6.960mg/L | 0.08888 | 0 | 50
Unknown | NPOC | CP40-5 | CP40-5 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:31 | 1 | 3 | NPOC | 34.76 | 34.79 | 6.954 | 6.96 | NPOC:6.960mg/L | NPOC:6.960mg/L | 0.08888 | 0 | 50
Unknown | NPOC | CP40-15 | CP40-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:42 | 1 | 1 | NPOC | 37.78 | 31.97 | 7.558 | 6.396 | NPOC:6.396mg/L | NPOC:6.396mg/L | 0.3683 | 1 | 50
Unknown | NPOC | CP40-15 | CP40-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:44 | 1 | 2 | NPOC | 32.15 | 31.97 | 6.431 | 6.396 | NPOC:6.396mg/L | NPOC:6.396mg/L | 0.3683 | 0 | 50
Unknown | NPOC | CP40-15 | CP40-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:47 | 1 | 3 | NPOC | 31.55 | 31.97 | 6.311 | 6.396 | NPOC:6.396mg/L | NPOC:6.396mg/L | 0.3683 | 0 | 50
Unknown | NPOC | CP40-15 | CP40-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:49 | 1 | 4 | NPOC | 32.22 | 31.97 | 6.445 | 6.396 | NPOC:6.396mg/L | NPOC:6.396mg/L | 0.3683 | 0 | 50
Unknown | NPOC | CP40-45 | CP40-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 21:58 | 1 | 1 | NPOC | 29.11 | 29.28 | 5.823 | 5.858 | NPOC:5.858mg/L | NPOC:5.858mg/L | 0.2747 | 0 | 50
Unknown | NPOC | CP40-45 | CP40-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:00 | 1 | 2 | NPOC | 29.14 | 29.28 | 5.829 | 5.858 | NPOC:5.858mg/L | NPOC:5.858mg/L | 0.2747 | 0 | 50
Unknown | NPOC | CP40-45 | CP40-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:02 | 1 | 3 | NPOC | 29.6 | 29.28 | 5.921 | 5.858 | NPOC:5.858mg/L | NPOC:5.858mg/L | 0.2747 | 0 | 50
Unknown | NPOC | CP40-90 | CP40-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:12 | 1 | 1 | NPOC | 132.6 | 133.1 | 26.53 | 26.63 | NPOC:26.63mg/L | NPOC:26.63mg/L | 1.229 | 0 | 50
Unknown | NPOC | CP40-90 | CP40-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:14 | 1 | 2 | NPOC | 134.5 | 133.1 | 26.91 | 26.63 | NPOC:26.63mg/L | NPOC:26.63mg/L | 1.229 | 0 | 50
Unknown | NPOC | CP40-90 | CP40-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:17 | 1 | 3 | NPOC | 132.2 | 133.1 | 26.45 | 26.63 | NPOC:26.63mg/L | NPOC:26.63mg/L | 1.229 | 0 | 50
Unknown | NPOC | CP40-45Spike | CP40-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:26 | 1 | 1 | NPOC | 32.93 | 33.4 | 6.587 | 6.681 | NPOC:6.681mg/L | NPOC:6.681mg/L | 0.6665 | 0 | 50
Unknown | NPOC | CP40-45Spike | CP40-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:28 | 1 | 2 | NPOC | 34.16 | 33.4 | 6.834 | 6.681 | NPOC:6.681mg/L | NPOC:6.681mg/L | 0.6665 | 0 | 50
Unknown | NPOC | CP40-45Spike | CP40-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:31 | 1 | 3 | NPOC | 33.1 | 33.4 | 6.621 | 6.681 | NPOC:6.681mg/L | NPOC:6.681mg/L | 0.6665 | 0 | 50
Unknown | NPOC | BL60-Surface | BL60-Surface | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:40 | 1 | 1 | NPOC | 159.2 | 159.1 | 31.85 | 31.82 | NPOC:31.82mg/L | NPOC:31.82mg/L | 1.206 | 0 | 50
Unknown | NPOC | BL60-Surface | BL60-Surface | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:43 | 1 | 2 | NPOC | 157.8 | 159.1 | 31.57 | 31.82 | NPOC:31.82mg/L | NPOC:31.82mg/L | 1.206 | 0 | 50
Unknown | NPOC | BL60-Surface | BL60-Surface | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:45 | 1 | 3 | NPOC | 160.2 | 159.1 | 32.05 | 31.82 | NPOC:31.82mg/L | NPOC:31.82mg/L | 1.206 | 0 | 50
Unknown | NPOC | BL60-0 | BL60-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:55 | 1 | 1 | NPOC | 126.6 | 125.7 | 25.33 | 25.15 | NPOC:25.15mg/L | NPOC:25.15mg/L | 0.8505 | 0 | 50
Unknown | NPOC | BL60-0 | BL60-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:57 | 1 | 2 | NPOC | 125.7 | 125.7 | 25.15 | 25.15 | NPOC:25.15mg/L | NPOC:25.15mg/L | 0.8505 | 0 | 50
Unknown | NPOC | BL60-0 | BL60-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 22:59 | 1 | 3 | NPOC | 124.9 | 125.7 | 24.99 | 25.15 | NPOC:25.15mg/L | NPOC:25.15mg/L | 0.8505 | 0 | 50
Unknown | NPOC | BL60-15 | BL60-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:09 | 1 | 1 | NPOC | 143.5 | 142.9 | 28.71 | 28.58 | NPOC:28.58mg/L | NPOC:28.58mg/L | 1.012 | 0 | 50
Unknown | NPOC | BL60-15 | BL60-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:12 | 1 | 2 | NPOC | 141.7 | 142.9 | 28.35 | 28.58 | NPOC:28.58mg/L | NPOC:28.58mg/L | 1.012 | 0 | 50
Unknown | NPOC | BL60-15 | BL60-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:14 | 1 | 3 | NPOC | 143.4 | 142.9 | 28.69 | 28.58 | NPOC:28.58mg/L | NPOC:28.58mg/L | 1.012 | 0 | 50
Unknown | NPOC | BL60-45 | BL60-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:23 | 1 | 1 | NPOC | 53.17 | 53.1 | 10.64 | 10.62 | NPOC:10.62mg/L | NPOC:10.62mg/L | 0.1607 | 0 | 50
Unknown | NPOC | BL60-45 | BL60-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:26 | 1 | 2 | NPOC | 69.74 | 53.1 | 13.95 | 10.62 | NPOC:10.62mg/L | NPOC:10.62mg/L | 0.1607 | 1 | 50
Unknown | NPOC | BL60-45 | BL60-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:29 | 1 | 3 | NPOC | 52.92 | 53.1 | 10.59 | 10.62 | NPOC:10.62mg/L | NPOC:10.62mg/L | 0.1607 | 0 | 50
Unknown | NPOC | BL60-45 | BL60-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:31 | 1 | 4 | NPOC | 53.22 | 53.1 | 10.65 | 10.62 | NPOC:10.62mg/L | NPOC:10.62mg/L | 0.1607 | 0 | 50
Unknown | NPOC | BL60-90 | BL60-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:41 | 1 | 1 | NPOC | 238.2 | 237.6 | 47.65 | 47.53 | NPOC:47.53mg/L | NPOC:47.53mg/L | 0.5196 | 0 | 50
Unknown | NPOC | BL60-90 | BL60-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:43 | 1 | 2 | NPOC | 237.3 | 237.6 | 47.47 | 47.53 | NPOC:47.53mg/L | NPOC:47.53mg/L | 0.5196 | 0 | 50
Unknown | NPOC | BL60-90 | BL60-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:46 | 1 | 3 | NPOC | 237.3 | 237.6 | 47.47 | 47.53 | NPOC:47.53mg/L | NPOC:47.53mg/L | 0.5196 | 0 | 50
Unknown | NPOC | BL60-45Spike | BL60-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:55 | 1 | 1 | NPOC | 9.862 | 9.894 | 1.973 | 1.979 | NPOC:1.979mg/L | NPOC:1.979mg/L | 0.1624 | 0 | 50
Unknown | NPOC | BL60-45Spike | BL60-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:57 | 1 | 2 | NPOC | 9.515 | 9.894 | 1.903 | 1.979 | NPOC:1.979mg/L | NPOC:1.979mg/L | 0.1624 | 1 | 50
Unknown | NPOC | BL60-45Spike | BL60-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-20 23:59 | 1 | 3 | NPOC | 10.07 | 9.894 | 2.014 | 1.979 | NPOC:1.979mg/L | NPOC:1.979mg/L | 0.1624 | 0 | 50
Unknown | NPOC | BL60-45Spike | BL60-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:01 | 1 | 4 | NPOC | 9.75 | 9.894 | 1.95 | 1.979 | NPOC:1.979mg/L | NPOC:1.979mg/L | 0.1624 | 0 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:11 | 1 | 1 | NPOC | 48.13 | 48.03 | 9.628 | 9.609 | NPOC:9.609mg/L | NPOC:9.609mg/L | 0.09074 | 0 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:13 | 1 | 2 | NPOC | 47.95 | 48.03 | 9.592 | 9.609 | NPOC:9.609mg/L | NPOC:9.609mg/L | 0.09074 | 0 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:16 | 1 | 3 | NPOC | 48.02 | 48.03 | 9.606 | 9.609 | NPOC:9.609mg/L | NPOC:9.609mg/L | 0.09074 | 0 | 50
Unknown | NPOC | SRS5-0 | SRS5-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:25 | 1 | 1 | NPOC | 11.79 | 11.67 | 2.359 | 2.334 | NPOC:2.334mg/L | NPOC:2.334mg/L | 0.125 | 0 | 50
Unknown | NPOC | SRS5-0 | SRS5-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:27 | 1 | 2 | NPOC | 11.06 | 11.67 | 2.212 | 2.334 | NPOC:2.334mg/L | NPOC:2.334mg/L | 0.125 | 1 | 50
Unknown | NPOC | SRS5-0 | SRS5-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:29 | 1 | 3 | NPOC | 11.54 | 11.67 | 2.309 | 2.334 | NPOC:2.334mg/L | NPOC:2.334mg/L | 0.125 | 0 | 50
Unknown | NPOC | SRS5-0 | SRS5-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:31 | 1 | 4 | NPOC | 11.67 | 11.67 | 2.335 | 2.334 | NPOC:2.334mg/L | NPOC:2.334mg/L | 0.125 | 0 | 50
Unknown | NPOC | SRS5-15 | SRS5-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:41 | 1 | 1 | NPOC | 8.624 | 8.62 | 1.725 | 1.724 | NPOC:1.724mg/L | NPOC:1.724mg/L | 0.1345 | 0 | 50
Unknown | NPOC | SRS5-15 | SRS5-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:43 | 1 | 2 | NPOC | 8.753 | 8.62 | 1.751 | 1.724 | NPOC:1.724mg/L | NPOC:1.724mg/L | 0.1345 | 0 | 50
Unknown | NPOC | SRS5-15 | SRS5-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:45 | 1 | 3 | NPOC | 8.484 | 8.62 | 1.697 | 1.724 | NPOC:1.724mg/L | NPOC:1.724mg/L | 0.1345 | 0 | 50
Unknown | NPOC | SRS5-45 | SRS5-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:54 | 1 | 1 | NPOC | 8.553 | 8.457 | 1.711 | 1.692 | NPOC:1.692mg/L | NPOC:1.692mg/L | 0.1337 | 0 | 50
Unknown | NPOC | SRS5-45 | SRS5-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:56 | 1 | 2 | NPOC | 8.304 | 8.457 | 1.661 | 1.692 | NPOC:1.692mg/L | NPOC:1.692mg/L | 0.1337 | 0 | 50
Unknown | NPOC | SRS5-45 | SRS5-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 00:58 | 1 | 3 | NPOC | 8.513 | 8.457 | 1.703 | 1.692 | NPOC:1.692mg/L | NPOC:1.692mg/L | 0.1337 | 0 | 50
Unknown | NPOC | SRS5-90 | SRS5-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:08 | 1 | 1 | NPOC | 101.6 | 101.7 | 20.32 | 20.35 | NPOC:20.35mg/L | NPOC:20.35mg/L | 1.206 | 0 | 50
Unknown | NPOC | SRS5-90 | SRS5-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:10 | 1 | 2 | NPOC | 100.6 | 101.7 | 20.12 | 20.35 | NPOC:20.35mg/L | NPOC:20.35mg/L | 1.206 | 0 | 50
Unknown | NPOC | SRS5-90 | SRS5-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:13 | 1 | 3 | NPOC | 103 | 101.7 | 20.6 | 20.35 | NPOC:20.35mg/L | NPOC:20.35mg/L | 1.206 | 0 | 50
Unknown | NPOC | SRS5-45Spike | SRS5-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:22 | 1 | 1 | NPOC | 9.506 | 9.639 | 1.902 | 1.928 | NPOC:1.928mg/L | NPOC:1.928mg/L | 0.131 | 0 | 50
Unknown | NPOC | SRS5-45Spike | SRS5-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:24 | 1 | 2 | NPOC | 9.266 | 9.639 | 1.854 | 1.928 | NPOC:1.928mg/L | NPOC:1.928mg/L | 0.131 | 1 | 50
Unknown | NPOC | SRS5-45Spike | SRS5-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:26 | 1 | 3 | NPOC | 9.768 | 9.639 | 1.954 | 1.928 | NPOC:1.928mg/L | NPOC:1.928mg/L | 0.131 | 0 | 50
Unknown | NPOC | SRS5-45Spike | SRS5-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:28 | 1 | 4 | NPOC | 9.642 | 9.639 | 1.929 | 1.928 | NPOC:1.928mg/L | NPOC:1.928mg/L | 0.131 | 0 | 50
Unknown | NPOC | SRS6-0 | SRS6-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:38 | 1 | 1 | NPOC | 19.14 | 9.449 | 3.829 | 1.89 | NPOC:1.890mg/L | NPOC:1.890mg/L | 0.16 | 1 | 50
Unknown | NPOC | SRS6-0 | SRS6-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:40 | 1 | 2 | NPOC | 9.34 | 9.449 | 1.868 | 1.89 | NPOC:1.890mg/L | NPOC:1.890mg/L | 0.16 | 0 | 50
Unknown | NPOC | SRS6-0 | SRS6-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:42 | 1 | 3 | NPOC | 9.375 | 9.449 | 1.875 | 1.89 | NPOC:1.890mg/L | NPOC:1.890mg/L | 0.16 | 0 | 50
Unknown | NPOC | SRS6-0 | SRS6-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:45 | 1 | 4 | NPOC | 9.763 | 9.449 | 1.953 | 1.89 | NPOC:1.890mg/L | NPOC:1.890mg/L | 0.16 | 1 | 50
Unknown | NPOC | SRS6-0 | SRS6-0 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:47 | 1 | 5 | NPOC | 9.633 | 9.449 | 1.927 | 1.89 | NPOC:1.890mg/L | NPOC:1.890mg/L | 0.16 | 0 | 50
Unknown | NPOC | SRS6-15 | SRS6-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:56 | 1 | 1 | NPOC | 8.851 | 8.88 | 1.771 | 1.776 | NPOC:1.776mg/L | NPOC:1.776mg/L | 0.08624 | 0 | 50
Unknown | NPOC | SRS6-15 | SRS6-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 01:58 | 1 | 2 | NPOC | 8.812 | 8.88 | 1.763 | 1.776 | NPOC:1.776mg/L | NPOC:1.776mg/L | 0.08624 | 0 | 50
Unknown | NPOC | SRS6-15 | SRS6-15 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:00 | 1 | 3 | NPOC | 8.977 | 8.88 | 1.796 | 1.776 | NPOC:1.776mg/L | NPOC:1.776mg/L | 0.08624 | 0 | 50
Unknown | NPOC | SRS6-45 | SRS6-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:09 | 1 | 1 | NPOC | 7.348 | 7.352 | 1.47 | 1.471 | NPOC:1.471mg/L | NPOC:1.471mg/L | 0.04162 | 0 | 50
Unknown | NPOC | SRS6-45 | SRS6-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:11 | 1 | 2 | NPOC | 7.312 | 7.352 | 1.463 | 1.471 | NPOC:1.471mg/L | NPOC:1.471mg/L | 0.04162 | 0 | 50
Unknown | NPOC | SRS6-45 | SRS6-45 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:13 | 1 | 3 | NPOC | 7.395 | 7.352 | 1.479 | 1.471 | NPOC:1.471mg/L | NPOC:1.471mg/L | 0.04162 | 0 | 50
Unknown | NPOC | SRS6-90 | SRS6-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:23 | 1 | 1 | NPOC | 101.5 | 101.8 | 20.3 | 20.36 | NPOC:20.36mg/L | NPOC:20.36mg/L | 0.9292 | 0 | 50
Unknown | NPOC | SRS6-90 | SRS6-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:25 | 1 | 2 | NPOC | 101 | 101.8 | 20.2 | 20.36 | NPOC:20.36mg/L | NPOC:20.36mg/L | 0.9292 | 0 | 50
Unknown | NPOC | SRS6-90 | SRS6-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:28 | 1 | 3 | NPOC | 107.4 | 101.8 | 21.48 | 20.36 | NPOC:20.36mg/L | NPOC:20.36mg/L | 0.9292 | 1 | 50
Unknown | NPOC | SRS6-90 | SRS6-90 | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:30 | 1 | 4 | NPOC | 102.8 | 101.8 | 20.56 | 20.36 | NPOC:20.36mg/L | NPOC:20.36mg/L | 0.9292 | 0 | 50
Unknown | NPOC | SRS6-45Spike | SRS6-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:40 | 1 | 1 | NPOC | 0 | 0.253 | 0 | 0.05062 | NPOC:0.05062mg/L | NPOC:0.05062mg/L | 0.03433 | 1 | 50
Unknown | NPOC | SRS6-45Spike | SRS6-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:42 | 1 | 2 | NPOC | 0.6412 | 0.253 | 0.1283 | 0.05062 | NPOC:0.05062mg/L | NPOC:0.05062mg/L | 0.03433 | 1 | 50
Unknown | NPOC | SRS6-45Spike | SRS6-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:44 | 1 | 3 | NPOC | 0.2455 | 0.253 | 0.04911 | 0.05062 | NPOC:0.05062mg/L | NPOC:0.05062mg/L | 0.03433 | 0 | 50
Unknown | NPOC | SRS6-45Spike | SRS6-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:46 | 1 | 4 | NPOC | 0.2231 | 0.253 | 0.04463 | 0.05062 | NPOC:0.05062mg/L | NPOC:0.05062mg/L | 0.03433 | 0 | 50
Unknown | NPOC | SRS6-45Spike | SRS6-45Spike | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:48 | 1 | 5 | NPOC | 0.2905 | 0.253 | 0.05811 | 0.05062 | NPOC:0.05062mg/L | NPOC:0.05062mg/L | 0.03433 | 0 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 02:58 | 1 | 1 | NPOC | 51.53 | 48.27 | 10.31 | 9.655 | NPOC:9.655mg/L | NPOC:9.655mg/L | 0.8204 | 1 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 03:00 | 1 | 2 | NPOC | 47.87 | 48.27 | 9.576 | 9.655 | NPOC:9.655mg/L | NPOC:9.655mg/L | 0.8204 | 0 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 03:02 | 1 | 3 | NPOC | 47.72 | 48.27 | 9.546 | 9.655 | NPOC:9.655mg/L | NPOC:9.655mg/L | 0.8204 | 0 | 50
Unknown | NPOC | 10 ppm | 10 ppm | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 03:04 | 1 | 4 | NPOC | 49.21 | 48.27 | 9.844 | 9.655 | NPOC:9.655mg/L | NPOC:9.655mg/L | 0.8204 | 0 | 50
Unknown | NPOC | exblank | exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 03:12 | 1 | 1 | NPOC | 0 | 0.05143 | 0 | 0.01029 | NPOC:0.01029mg/L | NPOC:0.01029mg/L | 0.08909 | 0 | 50
Unknown | NPOC | exblank | exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 03:14 | 1 | 2 | NPOC | 0.3859 | 0.05143 | 0.0772 | 0.01029 | NPOC:0.01029mg/L | NPOC:0.01029mg/L | 0.08909 | 1 | 50
Unknown | NPOC | exblank | exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 03:16 | 1 | 3 | NPOC | 0.1543 | 0.05143 | 0.03087 | 0.01029 | NPOC:0.01029mg/L | NPOC:0.01029mg/L | 0.08909 | 0 | 50
Unknown | NPOC | exblank | exblank | C:\TOC3201\CalCurves\NPOC100ppm.cal | C:\TOC3201\CalCurves\NPOC100ppm.2025_11_20_16_37_16.cal | 1 |  | 2025-11-21 03:18 | 1 | 4 | NPOC | 0 | 0.05143 | 0 | 0.01029 | NPOC:0.01029mg/L | NPOC:0.01029mg/L | 0.08909 | 0 | 50